# Ceiling Insulation Activity Guide

- 1 October 2026

## Acknowledgement

We acknowledge the Traditional Owners of the lands and waterways on which we work and live.

We acknowledge all Aboriginal and Torres Strait Islander communities, and pay our respects to Elders past and present.

As the First Peoples of this land, belonging to the world’s oldest living cultures, we recognise and value their knowledge, and ongoing role in shaping and enriching the story of Victoria.

An appropriate citation for this paper is:

Essential Services Commission 2026, Ceiling Insulation Activity Guide, 1 October

Copyright notice

© Essential Services Commission 2026

This work, Ceiling Insulation Activity Guide, is licensed under a Creative Commons Attribution 4.0 licence [creativecommons.org/licenses/by/4.0]. You are free to re-use the work under that licence, on the condition that you credit the Essential Services Commission as author, indicate if changes were made and comply with the other licence terms.

The licence does not apply to any brand logo, images or photos within the publication.

Contents

Guide overview	2

1.	Introduction to the ceiling insulation activity	5

1.1.	Eligible ceiling insulation activities	6

1.2.	Common activity requirements	8

2.	Requirements for personnel involved in the ceiling insulation activity	10

2.1.	Compliance with legislation and managing safety risks	10

2.2.	Licensing requirements for personnel undertaking pre-installation electrical safety assessments	11

2.3.	Training and competency requirements for installers	11

2.4.	Record-keeping and registration requirements for scheme participants	12

3.	Requirements for the ceiling insulation activity	13

3.1.	Accreditation conditions	13

3.2.	VEEC assignment of rights	13

3.3.	Minimum co-payment requirement	14

3.4.	Pre-installation requirements	14

3.5.	Installation requirements	18

3.6.	Post-installation requirements	19

3.7.	Product disposal requirements	20

3.8.	Consumer information provision requirements	20

4.	Record-keeping requirements	21

4.1.	Record-keeping obligations	21

4.2.	Photograph and video requirements	21

4.3.	Minimum record-keeping requirements	21

5.	Ceiling insulation activity process	26

6.	Calculating VEECs	31

Appendix A: Guidance for completing the installation notification form	33

Appendix B: Calculation for ceiling insulation activities and worked examples	35

Appendix C: Guidance for completing the ceiling insulation (activity 48) VEEC creation form	37

Glossary	39

# Guide overview

Under the Victorian Energy Upgrades (VEU) program, accredited persons (APs) and scheme participants, including installers, must comply with program requirements when undertaking ceiling insulation activities. Compliance with the requirements is also necessary to create Victorian energy efficiency certificates (VEECs).

## About this guide

Use this guide to understand the specific requirements for the ceiling insulation activity under the VEU program. It explains the key requirements that must be met and the commission’s expectations for carrying out the ceiling insulation activity.

The guide has six sections:

Section 1: Introduction to the ceiling insulation activity

Section 2: Requirements for personnel involved in the ceiling insulation activity

Section 3: Activity requirements for the ceiling insulation activity

Section 4: Record-keeping requirements for the ceiling insulation activity

Section 5: Ceiling insulation activity process

Section 6: Calculating Victorian energy efficiency certificates for the ceiling insulation activity

## Who should use this guide?

You should use this guide if you are:

considering applying for accreditation to undertake the ceiling insulation activity under the VEU program

an accredited person seeking guidance to undertake the ceiling insulation activity under the VEU program

a ceiling insulation installer planning to undertake ceiling insulation activities under the VEU program.

You should also review the Obligations and Program Guide for Accredited Persons for further information about the VEU program framework and key requirements that apply to all accredited persons creating VEECs under the program.

## How to apply for accreditation to undertake the ceiling insulation activity under the VEU program

For information about accreditation, or to submit an application, please refer to the commission’s website at: www.esc.vic.gov.au/become-veu-accredited

You will need to review the Application Guide for Accredited Persons published on the above page for information about:

how to apply for accreditation and the decision-making process

the matters we consider when determining whether an applicant is ‘competent and capable’ and ‘fit and proper’ to undertake the ceiling insulation activity

accreditation conditions that accredited persons must meet.

We will only approve an application for accreditation to undertake the ceiling insulation activity if we are satisfied you are both ‘fit and proper’ and ‘competent and capable’ of performing the activity.

## Legislative requirements

The legal requirements for accredited persons and scheme participants, including installers, who take part in the ceiling insulation activity under the VEU program are set out in:

Victorian Energy Efficiency Target Act 2007 (the VEET Act)

Victorian Energy Efficiency Target Regulations 2018 (the VEET Regulations)

Victorian Energy Upgrades Specifications 2018 (the VEU Specifications)

Victorian Energy Efficiency Target Guidelines (the VEET Guidelines).

You can access these documents at: VEU legislation

This guide is not a substitute for legal advice and should be read in conjunction with the  source documents listed above. While the commission has made every effort to provide current and accurate information, you should get professional advice if you have a specific concern, before relying on the accuracy, currency or completeness of this information. In the event of inconsistency between this guide and the source documents, the content in the source documents apply.

## Frequently asked activity questions

## We have published a frequently asked questions (FAQ) document about key requirements for this activity to provide further information. You can read the document by visiting the ceiling insulation activity webpage.

## Feedback on this guide

We worked closely with the Department of Energy, Environment and Climate Action (DEECA) and consulted with key industry bodies, inviting feedback from stakeholders through the development of this guide. We are committed to working with industry to ensure the requirements we set are effective, practical, and aligned with industry best practices. To support this objective, we welcome your feedback on the requirements outlined in this guide. To provide feedback, please contact VEU Support on veu@esc.vic.gov.au or (03) 9032 1310.

Introduction to the ceiling insulation activity

- The VEU program introduces the ceiling insulation activity into the VEU program in two stages:

Stage 1 (from 14 April 2026): only ceiling insulation upgrades in eligible public housing and community housing residential premises are eligible for VEECs.

Stage 2 (from 1 October 2026): ceiling insulation upgrades in all eligible uninsulated or under-insulated residential premises in Victoria are eligible for VEECs.

The Victorian Government introduced the ceiling insulation activity to the VEU program under the VEET Regulations.

Regulation 23A sets out specific requirements that must be met to create VEECs for this activity.

Regulation 37E sets out additional matters the commission may consider when determining whether the person applying for accreditation is competent and capable to undertake the activity.

Part 48 of Schedule 2 defines the prescribed activity and the scope of ceiling insulation upgrades in respect of which VEECs may be created. Subregulations 10(9) and (10) also set criteria that must be met.

DEECA has set additional requirements in the VEU Specifications for:

products

pre-installation requirements

information sharing

installation

minimum co-payment

product disposal.

Under the VEU program, the ceiling insulation activity involves installing one or more eligible insulation products in either:

an uninsulated residential ceiling space, or

an under-insulated residential ceiling space.

For an upgrade to be eligible for VEECs, the activity must comply with the requirements listed in the VEET Regulations and VEU Specifications. These requirements are outlined in this guide.

## Eligible ceiling insulation activities

For a ceiling insulation activity to be eligible to create VEECs under the VEU program, each of the following requirements must be met:

the activity must take place at an eligible premises (see section 1.1.1 below)

the installed insulation products must be eligible products (see section 1.1.2 below)

the activity must meet activity installation limits (see section 1.1.3 below)

the activity must not be undertaken before the date the accredited person was approved to undertake the ceiling insulation activity

the activity must be undertaken in accordance with all applicable:

accreditation conditions

training and competency requirements

activity requirements (pre-installation and installation requirements)

record-keeping requirements.

There are four eligible upgrade scenarios as outlined in table 1.

Table 1: Summary of eligible ceiling insulation activity scenarios (activity 48)

| Product category/ Activity scenario | Activity scenario description |
| --- | --- |
| 48A (i) | Installing a bulk insulation product(s) (batts or blanket) in an uninsulated residential ceiling space |
| 48A (ii) | Installing a bulk insulation product(s) (batts or blanket) in an under insulated residential ceiling space |
| 48B (i) | Installing a rigid cellular foam insulation product(s) in an uninsulated residential ceiling space |
| 48B (ii) | Installing a rigid cellular foam insulation product(s) in an under insulated residential ceiling space |

Eligible premises

To be eligible to create VEECs, the ceiling insulation installation must be undertaken:

in premises that is either a:

Class 1 building under Part A6 of Volume One of the Building Code; or

sole occupancy unit of a Class 2 building under Part A6 of Volume One of the Building Code

in the space above a ceiling where there is either a roof cavity or exposed roof, and not another storey (ceiling space)

in an area that is either:

uninsulated (i.e. a space that contains no existing insulation or only reflective foil insulation sheets hung below the roofing material), or

under-insulated (i.e. a space that contains existing uncompressed insulation with an average R-value of less than R2.0).

The ceiling insulation activity is not eligible for VEECs if insulation is installed in a premises unless:

Every luminaire installed in the ceiling is classified and marked as IC or IC-4 luminaires (i.e. which is intended to indicate the luminaires can be safely abutted against or covered with insulation), and

Neither the ceiling above the installation nor the floor or other structure underneath the installation was constructed in the last 5 years (noting that this may also apply for renovations or other works).

Eligible products

Products installed under the ceiling insulation activity must be listed on the VEU Register of Products at the time VEECs are created.

The products must meet the product requirements listed in table 2 to be eligible for approval by the commission for listing on the VEU Register of Products.

Table 2: Product requirements (including pre-installation and warranty requirements) for ceiling insulation activity scenarios

| Product category | Requirement type | Criteria |
| --- | --- | --- |
| 48A | Eligible product | A bulk insulation product that— - is in the form of a batt or blanket - does not contain metallic materials that conduct electricity - does not have a metallic surface that conducts electricity1 - is not a loose fill or cellulose fibre insulation product - meets thermal insulation and fire hazard properties requirement set out below - is listed on the VEU Register of Products at the time VEECs are created. |
| 48B | Eligible product | A product that— - is a rigid cellular foam insulation product - does not contain metallic materials that conduct electricity1 - does not have a metallic surface that conducts electricity1 - is not a loose fill or cellulose fibre insulation product - meets thermal insulation and fire hazard properties requirement set out below - is listed on the VEU Register of Products at the time VEECs are created. |
| 48A and B | Thermal insulation requirement | Each product must have a CodeMark Certificate of Conformity that attests compliance with AS/NZ 4859.1 by confirming the product complies with the Australian Building Construction Board (ABCB) Housing Provision Part 13.2.2 or 13.2.2(1); |
| 48A and B | Fire hazard properties requirement | Each product must have a CodeMark Certificate of Conformity that attests compliance with AS/NZS 1530.3 by confirming the product complies with NCC 2022 Volume One Part C2D11 or S7C73. |
| 48A and B | Product warranty requirement | The product must be covered by a warranty against defects for a period of at least five years from the date of installation, purchase or supply (as applicable). In addition to the requirements of a warranty against defects under the Australian Consumer Law (Victoria), the warranty must also include the contact details of who to contact regarding product warranty obligations in Australia in the event of a product failure, if the person who gives the warranty is not in Australia. |

To access information about, or to apply for a product to be listed on the VEU Register of Products, visit the commission’s website at: VEU product applicants.

Installation limits

A maximum of one ceiling insulation upgrade is eligible for VEECs per residential premises under the VEU program.

Change in standards

Where the VEET Regulations refer to an Australian standard or Australian/New Zealand standard and the standard is amended, a 6-month transition period applies. During this period, compliance with either the previous version of the standard or the amended standard will satisfy the relevant regulatory requirement. From 6 months after the date the standard is amended, the amended standard applies and the previous version can no longer be relied on under the transition provision.

Common activity requirements

Accredited persons and scheme participants must undertake all VEU activities in accordance with program rules in the VEET Act, VEET Regulations (including the code of conduct provisions), VEU Specifications and VEET Guidelines.

- Accreditation conditions

- If you are an accredited person you must comply with all conditions of your accreditation including those that relate to the undertaking of the VEU activity.

- Marketing and lead generation requirements

- Accredited persons and scheme participants (such as lead generators) must comply with all relevant laws when undertaking lead generation and marketing activities under the program including:

the VEU code of conduct provisions in Schedule 6 of the VEET Regulations, including the ban on ‘cold-call’ telemarketing and doorknocking lead generation or marketing practices under the VEU program.

Australian Consumer Law when engaging in lead generation and marketing practices permitted under the program.

Telecommunications (Telemarketing and Research Calls) Industry Standard 2017 when engaging in telemarketing practices permitted under the program.

Spam Act 2003 and the Spam Regulations 2021 when sending email or SMS text messages for lead generation or marketing under the program. A summary of obligations is provided by the Australian Communications and Media Authority.

For further information on meeting your obligations under the VEU code of conduct, please review the code of conduct guideline and various supporting resources (including fact sheets and consumer resources) which are published on the commission website.

Requirements for personnel involved in the ceiling insulation activity

Compliance with legislation and managing safety risks

A VEEC cannot be created if the prescribed activity is not undertaken in accordance with provisions of the Australian Consumer Law, the Electricity Safety Act 1998, the Gas Safety Act 1997, the Occupational Health and Safety Act 2004, the Building Act 1993 and regulations made under those acts.

An accredited person must ensure that any person undertaking a prescribed activity (called a scheme participant) complies with all relevant legislation.

If an accredited person creates VEECs for the ceiling insulation activity that do not meet these requirements, enforcement action may be taken.

For information on the requirements for this activity, refer to the activity resources on the ceiling insulation webpage.

Complete a safe work method statement

A safe work method statement (SWMS) must be completed when undertaking this activity. The SWMS must accurately document the appropriate steps needed to identify and manage risks for  each installation.

These risks include, but are not limited to:

exposure to live electrical hazards.

exposure to hazardous substances, e.g., friable asbestos, harmful chemicals, etc.

exposure to biological hazards, e.g. mold, animal waste.

exposure to high temperatures and heat exhaustion.

exposure to unsafe noise and vibration levels.

exposure to respiratory hazards and irritants, e.g., dust, odours.

working in enclosed spaces.

working at height (both internally and externally to ceiling spaces).

fire hazards and ignition sources.

All parties involved in the installation must ensure the activity is undertaken in accordance with the completed SWMS. This is to protect installers, occupants and the property.

To manage safety risks and hazards and meet all relevant safety requirements, accredited persons and scheme participants should review the technical guidance sheets published on the DEECA website: Insulation requirements for industry page

The completion of the pre-installation electrical safety assessment by an applicable electrician and the pre-installation installer safety assessment by the installer (set out in section 3 below) are also key controls for managing safety risks and hazards for this activity.

Licensing requirements for personnel undertaking pre-installation electrical safety assessments

Before any insulation works can begin, a VEU pre-installation electrical safety assessment must be completed by an applicable electrician.

An applicable electrician is a person who is:

a licensed electrician registered with Energy Safe Victoria; and

engaged by a registered electrical contractor.

Training and competency requirements for installers

All ceiling insulation installers must meet the training and competency requirements set by the commission in the VEET Guidelines and must provide accredited persons with evidence that they meet these requirements.

To install insulation products under the program’s ceiling insulation activity, a person must hold full Certified Insulation Installer (CII) certification issued by the Energy Efficiency Council (EEC). All installers involved in an installation must hold this certification.

Installers with CII certification are listed in the directory on the EEC Professional Certifications website.

#### Role of the lead installer

If more than one installer is involved in an insulation installation, a ‘lead installer’ must be appointed for that installation.

The lead installer must:

sign off on the VEEC assignment form

manage the installation

be on site for the duration of the installation

supervise all other installers on site

make sure the installation complies with VEU program requirements and relevant legislation.

Record-keeping and registration requirements for scheme participants

Accredited persons must:

maintain a register of certification to confirm that all installers involved in undertaking the ceiling insulation activity hold CII certification

give each installer (individual person) the commission’s VEU scheme privacy collection notice before registering them as a scheme participant and inform them that their personal information may be disclosed to the commission and shared with the Energy Efficiency Council, for regulatory and compliance purposes

register installers as scheme participants through their ‘VEU account’ in the VEU Registry prior to creating VEECs for installations undertaken by those installers

register the lead installer as a scheme participant through their ‘VEU account’ in the VEU Registry prior to submitting an installation notification for a planned installation. Accredited persons must select the lead installer when submitting an installation notification, as set out in section 3.3.3 below.

submit evidence of the installer’s CII certification when registering them as scheme participants in the VEU Registry.

We will review and approve installer registrations as scheme participants to make sure they meet the CII certification requirement.

To get approval, accredited persons must submit proof of the installer’s CII certification.

Accredited persons can only select individuals as scheme participants for an installation notification or a VEEC creation claim for an activity after the commission has verified their registration as a scheme participant in the VEU Registry.

Requirements for the ceiling insulation activity

Accredited persons should be aware of, and adhere to, below requirements to ensure compliance with the legislation.

Accreditation conditions

Accredited persons undertaking ceiling insulation activities must comply with accreditation conditions that apply specifically to this activity. These conditions include:

key safety and quality requirements already specified under the program rules, such as pre-installation safety assessments and installation notifications.

a requirement to ensure there is a contract in place between the accredited person and the energy consumer for the provision of the activity before any insulation works are undertaken

compliance monitoring measures, including inspections and assurance checks to help ensure installations are safe and meet program requirements.

Accredited persons must comply with these conditions for ceiling insulation installations under the VEU program, even if they do not create any VEECs in relation to the installation. If an accredited person does not comply with the conditions, we may take compliance or enforcement action.

You can review the accreditation conditions for the activity here: General accreditations conditions – ceiling insulation

VEEC assignment of rights

A key program requirement is the valid assignment of the right to create VEECs from the consumer to an accredited person. A VEEC assignment form must be signed by the energy consumer for accredited persons to create VEECs and demonstrate compliance with the legislation.

Under the program, the energy consumer may be either:

a renter

an occupant

the owner, if:

they are the rental provider of the premises, or

they are undertaking construction or renovation and the premises is not connected to electricity or gas.

Given the nature of the ceiling insulation activity, the person who is the energy consumer for this activity and completes and signs the VEEC assignment form may typically be the rental provider or owner of the premises.

The VEEC assignment form template for this activity is available on the Ceiling Insulation activity page on the commission’s website.

The energy consumer must be given a copy of the VEEC assignment form:

at the time of signing (for written forms)

within 10 business days of signing (for electronic forms).

Accredited persons should make sure all personal information collected in the VEEC assignment form is held in accordance with the Privacy Act 1988, if applicable. Further information is available on the Office of the Australian Information Commissioner website.

Minimum co-payment requirement

The energy consumer must pay the accredited person a minimum co-payment amount of $200 (including GST) per upgrade. The energy consumer must pay this amount before VEECs can be created for the activity.

The co-payment amount cannot be reimbursed, in part or in full, to the energy consumer in any form, including money, goods or services.

Pre-installation requirements

Before any insulation work starts, accredited persons must ensure the following pre-installation requirements are completed:

- Complete a pre-installation electrical safety assessment

- Obtain the owner’s consent to share information

- Send an installation notification to the commission

- Complete a pre-installation installer safety assessment.

These pre-installation requirements are a critical part of the legislative framework for this activity. They help ensure accredited persons and scheme participants are undertaking installations safely and in accordance with the program rules.

Complete a pre-installation electrical safety assessment

Before any insulation works are undertaken, an applicable electrician must complete and sign a VEU pre-installation electrical safety assessment. This assessment must be completed no earlier than 30 days before the insulation works starts

The VEU pre-installation electrical safety assessment must be completed using the current version of the form available on the DEECA website.

The applicable electrician must complete the form accurately and in full, and must address all requirements in the form, including but not limited to:

identifying hazards and eliminating or minimising associated risks within or affecting the ceiling space, including electrical hazards

confirming that all mains connected cables in the ceiling space:

  - are protected by a residual current device (RCD), if required

  - are thermoplastic insulated and sheathed (TPS) or an equivalent cable type

  - meet basic protection requirements

confirming that every luminaire installed in the ceiling space is classified and marked as an IC or IC-4 luminaire

confirming that the space above the ceiling where insulation is to be installed can be de-energised prior to any insulation works

recording of:

  - any electrical rectification work required to eliminate electrical hazards (if required)

  - any conditions that must be met to ensure the activity is electrically safe, including whether a licensed electrician is required to be present during the insulation upgrade.

The accredited person must ensure the completed form is provided to the following persons at least 24 hours before the insulation installation commences:

the property owner,

the insulation installer who will install the product(s),

the accredited person, if they did not complete the form

the commission, if requested.

#### Requirements for properties with someone dependent on life support

If someone at the property depends on life support, written consent or a medical plan must be obtained before the pre-installation electrical assessment begins. This document must be attached to the VEU pre-installation electrical assessment form. The installation cannot proceed unless written consent or a medical plan has been received.

Obtain owner’s consent to share information

The accredited person must obtain written consent from the owner at least 24 hours before the installation starts. This consent authorises the accredited person to send information to the commission and enables the commission to share that information with the Victorian WorkCover Authority (WorkSafe) and/or Energy Safe Victoria (ESV).

Owner consent is required to share:

the day or days during which the installation will occur

the address of the residential premises where the installation will occur

the owner’s contact details, including name, email address and telephone number.

Evidence of written consent from the owner must be kept and provided to the commission upon request. We recommend accredited persons use the owner’s consent template published on the commission website.

Send the installation notification to the commission

After the owner gives written consent, the accredited person must send an installation notification to the commission for the planned ceiling insulation installation under the VEU program.

This notification must be submitted:

- at least 24 hours before the installation commences

- no earlier than five days before the installation starts.

Accredited persons must submit the installation notification through their VEU account in the VEU Registry under ‘Activities – Submit a new install notification’ item. Accredited persons are required to provide all information outlined in Appendix A as part of this notification.

Once the installation notification is submitted, a notification identification number is issued. This number confirms that the notification has been submitted in accordance with the specified notification requirements. It must be referenced when submitting activities for VEEC creation for the related insulation installation activity.

Where required, an existing notification can be updated or withdrawn and re-submitted

The installation notification helps the commission and relevant regulators, such as WorkSafe and ESV to carry out inspections on the day of the installation and/or after the installation.

#### Update a notification record when details change

Accredited persons may update a notification record if:

the scheduled installation date and time has not passed

the original installation notification has not been withdrawn.

The notification identification (ID) stays the same when a notification record is updated.

To update a notification record, select the relevant installation notification record under ‘Activities – All Install notifications’ list in your account and select ‘Update Install notification’.

You can only update the following fields:

installation start date and time (this date must be within the next five days)

installation end date and time

scheme participant (lead installer)

scheme participant details:

- phone number

- EEC Certification number

- installer company name

- ABN/ACN.

If you need to change any other information in the notification record, you must withdraw and resubmit the notification.

#### Withdraw and re-submit an installation notification

If an installation notification needs to be withdrawn, the accredited person must withdraw the original notification via their VEU account in the VEU Registry. To withdraw the notification, select the relevant installation notification record under ‘Activities – All Install notifications’ and then select Withdraw Install notification’.

You may need to withdraw a notification if:

the installation upgrade will not proceed

the installation upgrade has been delayed to a date beyond the next five days

details that cannot be updated need to change, such as the address details of the upgrade premises. See appendix A for list of fields that cannot be updated once submitted.

To submit a new notification, the accredited person must submit the updated installation details at least 24 hours before the installation commences, but no earlier than five days before.

Where an installation notification has been withdrawn and resubmitted for the same premises, a new notification ID will be issued.

Complete a pre-installation installer assessment

Before any insulation work starts, the installer must complete a VEU pre-installation installer safety assessment form.

The installer must complete a VEU pre-installation installer safety assessment using the current version of the form available on the DEECA website. Before completing the form, the installer must hold a completed and signed copy of the VEU pre-installation electrical safety assessment form for the premises.

The installer must:

complete the assessment within 30 days of the VEU pre-installation electrical safety assessment, and

confirm that the worksite is safe

confirm that the installation will proceed under any conditions outlined in the VEU pre-installation electrical safety assessment form, including whether a licensed electrician must be on site during the installation.

#### Requirements for properties with someone dependent on life support

If someone at the property is dependent on life support, the installer must confirm they have received written consent or a medical plan before any installation work begins. The installation cannot proceed unless written consent or a medical plan has been received by the installer.

Installation requirements

Accredited persons and scheme participants must ensure that they undertake all VEU activities in accordance with:

the VEET Act, VEET Regulations (including the code of conduct provisions), VEU Specifications and VEET Guidelines, and

any conditions of accreditation.

Installation timeframe

- The installation of product(s) must start:

- within 30 days after an applicable electrician completes the VEU pre-installation electrical safety assessment form

- after the installer completes the VEU pre-installation installer safety assessment form

- no earlier than 24 hours after the accredited person submits the installation notification.

Installation requirements

As part of the installation, the installer must:

ensure the installation is undertaken in compliance with all applicable occupational health and safety laws and requirements, including completing a SWMS that accurately outlines the hazards and control measures for the activity

undertake the work in accordance with the requirements set out in the VEU pre-installation installer safety assessment form, the conditions outlined in the VEU pre-installation electrical safety assessment form and the SWMS form, including but not limited to:

  - shutting down or isolating the mains and/or other power supply (e.g. solar PV, battery or generator)

  - locking out to the switchboard using appropriate lock-out tags

ensure a licensed electrician is on site where required by the pre-installation electrical safety assessment

ensure the installed products provide a total thermal resistance (R-value) of at least R5.0 as determined in accordance with AS/NZS 4859.1

ensure that the installation is carried out in accordance with all relevant AS3999 requirements and all product manufacturer installation requirements

ensure all spaces above a ceiling that are eligible and practical to insulate are insulated as part of this activity

check that all items remain compliant with the VEU pre-installation installer safety assessment form at the start of each day prior to undertaking the work (where the installation is carried out over multiple days)

ensure the installation complies with all applicable occupational health and safety laws and requirements.

Existing insulation

Where the area to be insulated has existing insulation, the installer must ensure that existing insulation is removed where:

it is made from metallic materials or has a metallic surface that conducts electricity

it is not in a suitable condition for new product(s) to be installed over and

installing new insulation on top of the existing insulation will not meet AS3999 requirements and all product manufacturer’s installation requirements.

If the installer does not remove existing insulation prior to the upgrade, the installer must advise the property owner that:

the existing insulation will not be removed

the existing insulation is in a suitable condition for new insulation to be laid over and

installing new insulation on top of the existing insulation will meet AS3999 requirements and all product manufacturer installation requirements.

Post-installation requirements

After the installation is completed, all lock out devices must be removed and the premises safely re-energised.

Product disposal requirements

Any waste or debris generated from the activity, including the insulation product(s) which have been removed during the upgrade, must be removed from the consumer’s premises.

Waste and debris must be disposed of in accordance with all applicable waste management requirements under the Environment Protection Act 2017 and its regulations.

Consumer information provision requirements

Table 3 below summarises the records and information that must be provided to the consumer through the various stages of the ceiling insulation activity:

Table 3: Information to be provided to the consumer for all ceiling insulation activities

| Activity stage | Document or information |
| --- | --- |
| Prior to undertaking the installation | VEET Scheme Consumer Factsheet. Information as set out in the VEU Code of Conduct, including clear and accurate information on the activity (e.g. product performance and suitability of the product to that person and premises), information about your rights and obligations under the VEU program, terms and conditions of the contract, and contact details of the person to be undertaking the installation. A copy of the completed VEU pre-installation electrical safety assessment form Certificate of Electrical Safety (if rectification work was undertaken prior to the insulation installation). |
| On completion of the installation | - Tax invoice - VEEC Assignment Form - Information as set out in the VEU Code of Conduct including dispute resolution information, manufacturer’s instructions, contact details of the accredited person and/or scheme participant who undertook the installation. - Minimum five year warranty against defects document. |

Record-keeping requirements

Accredited persons must collect records to demonstrate that each ceiling insulation activity has been undertaken in accordance with the VEET Regulations and VEU Specifications. Accredited persons must keep records for each ceiling insulation activity and provide it to the commission upon request.

Record-keeping obligations

Accredited persons must keep appropriate records to verify all details of the activity which relate to the calculation of greenhouse gas abatement and the creation of VEECs.

We may ask to review these records prior to VEECs being registered, or up to six years after they are registered, as evidence that your upgrade complies with the legislation.

Your records must be an auditable record of the work undertaken. If your documentation fails to provide an auditable record of the work undertaken,

we may find that your VEEC creations are not eligible for registration;

you may be required to surrender VEECs equivalent to those which we cannot verify; or

you may be subject to other compliance and enforcement actions.

Photograph and video requirements

Accredited persons must provide timestamped and geo-tagged photographs and video to verify that the installation has been performed in accordance with the VEET Act, VEET Regulations and VEU Specifications. Geo-tagged photographs and videos must:

be clear and in focus

include any relevant markings

include a date stamp showing the date the video or photographs were taken

include the GPS derived latitude and longitude coordinates. This should be stored in the metadata and generated automatically by the device used to take the geo-tagged photographs or videos.

Minimum record-keeping requirements

For each ceiling insulation activity, accredited persons must collect the evidence described in table 4 below.

Table 4: Record-keeping requirements for all ceiling insulation activities

| Requirement | Document(s) | Details to be provided |
| --- | --- | --- |
| Assignment of rights to create VEECs | VEEC assignment form | All fields in the VEEC assignment form must be completed by the installer and energy consumer including signing of declarations as listed in the VEEC assignment form. |
| Evidence of commercial transaction | Tax invoice | A valid tax invoice for the work carried out, including: the name of the energy consumer the installation address - the name, address and Australian Business Number (ABN) of the contracting business - the brand(s), model(s) and R value of all installed product(s) - the total area (m2) of installed insulation product(s) - the price of the product(s) (before the VEEC incentive is applied) - the VEEC incentive amount - the amount paid by the energy consumer for the product(s) (after the VEEC incentive is applied) - the date of invoice. - Where a bulk tax invoice is issued, a reconciliation document capturing information above as it relates to installations at individual premises must be provided |
| Evidence of a contract between the accredited person and scheme participant | Contract with the scheme participant | Contract between the accredited person and the scheme participant which sets out the terms and conditions under which the scheme participant undertakes the activity on behalf of the accredited person (where the activity is undertaken by a scheme participant) |
| Evidence of a contract between the accredited person and the consumer in place before the works | Contract with the energy consumer | Fully executed and dated written contract between the accredited person and the energy consumer for the provision of the activity, or other documentation evidencing compliance with the contractual requirements under the accreditation conditions |
| Evidence of applicable electrician at premises to undertake pre-installation electrician assessment | Timestamped and geo-tagged photo of electrician | Photo of the licensed electrician, taken in front of the premises with photo identification clearly visible, prior to conducting the pre-installation electrical safety assessment. |
| Evidence of eligible cable types | Timestamped and geo-tagged photo of cables at the switchboard | The photo must clearly show the cable types present at the switchboard of the premises are Thermoplastic insulated and sheathed (TPS) or equivalent cable types Cable types which should NOT be present at the switchboard include infinity/Olsent cables, lead-sheathed cables, tough rubber-sheathed cables (TRS), cotton-insulated conductors, single-insulated cables in timber trunking and split-metal conduit wiring. This will require access to the switchboard and the photo should be taken by the licensed electrician when completing the pre-installation electrical safety assessment. This photo must only be taken by a licensed electrical worker. |
| Evidence of rectification work being undertaken in compliance with Electrical Safety Act 1998 (only required where electrical rectification work was required to be undertaken prior to insulation being installed ) | Certificate of electrical safety (CoES) | The CoES must clearly include a description of the rectification work carried out in the ceiling space. |
| Evidence of licensed electrician present at site at commencement of the installation | Timestamped and geo-tagged photo of electrician | Pre-installation photo of the licensed electrician, taken in front of the premises with photo identification clearly visible, prior to installation being conducted on day of installation (only in situations where the pre-installation electrical safety assessment requires an electrician to be present at the commencement of the installation). |
| Evidence of pre-installation electrical safety assessment (including confirmation that only luminaires in ceiling area are IC or IC-4 luminaires) | VEU pre-installation electrical safety assessment form | All fields in the VEU pre-installation electrical safety assessment form published on the department’s website must be completed and signed by the applicable electrician and property owner. |
| Evidence of consent to upgrade where a resident is dependent on life support (only required where a resident of the premises is dependent on life support equipment) | Consent form or medical plan | Written consent or medical plan confirming that the installation can be undertaken (i.e. no issues with the power being turned off/isolated for the duration of the insulation installation). |
| Evidence of owner consent to share information | Owner written consent to share information | A copy of written consent signed by the property owner authorising sharing of information with the commission, WorkSafe and Energy Safe Victoria. |
| Evidence of pre-installation installer safety assessment (including confirmation that only luminaires in ceiling area are IC or IC-4 luminaires) | VEU pre-installation installer safety assessment form | All fields in the VEU preinstallation installer safety assessment form published on the department’s website must be completed and signed by the lead EEC certified insulation installer responsible for the installation. |
| Evidence of installer(s) | Geo-tagged photos of installer(s) | A photo of each EEC certified installer involved in installing insulation products, taken prior to the installation at the front of the premises with photo identification clearly visible. |
| Evidence of pre-installation environment | Timestamped and geo-tagged 360-degree video footage of ceiling space (before upgrade) | For each upgrade zone claimed, provide a clearly labelled illuminated 360° video showing the existing ceiling space and the pre-installation environment, including any pre-existing insulation. Each video should not exceed 250MB in file size. |
|  | Timestamped and geo-tagged photos of the R-value of existing insulation (before upgrade)(only required where area is under insulated) | For each upgrade zone claimed, provide clearly labelled photo(s) showing: - the thickness of any existing insulation, with a ruler placed vertically to show the actual depth of the batts - any visible brand markings, model codes or R values printed on the insulation facing (where visible). |
|  | Timestamped and geo-tagged photo of power at premises having been isolated (before upgrade) | The photo must clearly show: - tagged and locked-out switchboard - solar isolator switch turned off (if applicable) - battery system isolator switch turned off (if applicable). |
| Evidence of eligibility of upgrade product(s) | Timestamped and geo-tagged photos of product(s) packaging on-site | The photo(s) must clearly show the product(s): - brand - model - R value label. |
| Evidence of post-installation environment | Timestamped and geo-tagged 360-degree video footage of ceiling space (after upgrade) | For each upgrade zone claimed, provide a clearly labelled illuminated 360° video that shows the post-installation environment, including: - coverage of the installation area - insulation depth with correct thickness/depth maintained (no excessive compression) - all areas that are eligible and practical to insulate are insulated - no waste or debris generated from the activity in the ceiling space. - Each video should not exceed 250MB in file size. |
|  | Diagram/floor plan of insulated ceiling space(s) | The diagram or floor plan must clearly show: - each upgrade area claimed, named consistently to match other records, including the dimensions of each zone - the products and R value installed in each area - the total area (m2) of insulation installed into each upgrade area. Aerial images of the roof space which accurately represent the ceiling area to be upgraded with area measurement can be used. Where balconies, verandahs, patios, etc are present, additional photo images of house elevations should also be captured. |
|  | Timestamped and geo-tagged photos of insulation level (after upgrade) | For each upgrade zone claimed, provide clearly labelled photo(s) showing the thickness of the new insulation, with a ruler placed vertically to show the actual depth of the batts. |

Ceiling insulation activity process

This section provides you with an overview of the steps for undertaking a ceiling insulation activity under the program.

Figure 1: Activity process steps for the ceiling insulation activity

Become accredited to undertake the ceiling insulation activity

A person or organisation must be accredited/approved to undertake the ceiling insulation activity to create VEECs. To become accredited/approved to undertake this activity, we must be satisfied that you are competent and capable and fit and proper to undertake the activity. Visit become VEU accredited to access the Application Guide for Accredited Persons and for more information on how to become accredited.

Get product approved (if not already approved)

To create VEECs for the ceiling insulation activity, the product installed must be listed as an approved product on the VEU Register of Products. Accredited persons should check the VEU Register of Products to confirm whether the product they wish to install has already been approved, as another organisation, such as a product manufacturer or supplier may have submitted it for approval.

Register scheme participants in the VEU Registry

Before creating VEECs for any ceiling insulation activities by insulation installers, accredited persons must register those installers as scheme participants in the VEU Registry

You can register an installer as a scheme participant under ‘My Account’ in the VEU Registry. When registering an installer, you must provide evidence of the installer’s EEC CII certification (see section 2.4 above).

We will review and approve registration of scheme participants for this activity. You can only select individuals as scheme participants when creating VEECs after we have verified their registration in the VEU Registry.

Completion of pre-installation electrical safety assessment by applicable electrician

Before any insulation works starts, an applicable electrician must complete and sign a VEU pre-installation electrical safety assessment. This assessment must be completed no earlier than 30 days before the insulation works commences.

Provide advice to the consumer/agree scope of work

Before the upgrade starts:

The accredited person or scheme participant must provide the consumer with information as listed in section 3.7.

The consumer and accredited person should clearly agree on the full scope of works. This includes:

whether any existing ceiling insulation is removed

the nature and extent of any rectification works required for the ceiling insulation installation to proceed.

Enter a contract with the energy consumer for the activity

Before any insulation works are undertaken, the accredited person must ensure that there is a contract in place between the accredited person and the consumer for the provision of the activity.

Obtain owner’s written consent to share information

The accredited person must obtain written consent from the property owner at least 24 hours before the installation starts. This consent authorises the accredited person to send information to the commission and for the commission to share that information with WorkSafe and/or ESV.

Send an installation notification to the commission

Once written consent is obtained from the owner, the accredited person must send an installation notification to the commission of the ceiling insulation upgrade.

You must send this notification:

at least 24 hours before the installation commences

no earlier than 5 days before the installation starts.

See appendix A for guidance on completion of the installation notification form to the commission.

Complete pre-installation installer safety assessment

Before the installation starts at the premises, the installer must complete a VEU pre-installation installer safety assessment form. The assessment must:

be completed within 30 days of the VEU pre-installation electrical safety assessment

confirm that the worksite is safe and that the installation will proceed in accordance with any conditions outlined in the VEU pre-installation electrical safety assessment form, including whether an electrician is required to be on site during the installation.

Undertake the activity and collect records

When carrying out the activity, installers must comply with:

- the program rules as set out in the VEET Regulations and VEU Specifications, including compliance with the conditions outlined in the VEU pre-installation electrical safety assessment form and VEU pre-installation installer safety assessment form

- any relevant provisions of the Electricity Safety Act 1998, the Gas Safety Act 1997, the Occupational Health and Safety Act 2004 and the Building Act 1993, including the regulations under any of those Acts

- any accreditation conditions prescribed for an accredited person for this activity.

We recommend that installers use the resources published by the Insulation Council of Australia and New Zealand (ICANZ) on its website for guidance on installing ceiling insulation products into existing homes: Resources - ICANZ

The installer must also collect and retain all records as listed in Table 4 as evidence of compliance with the program rules.

Assignment of rights

A valid assignment of the right to create VEECs from the consumer to an accredited person is an important part of the certificate creation process. Before creating VEECs for an activity, accredited persons and/or installers must complete and collect a VEEC assignment form, signed by the consumer. The consumer must be provided a copy of the VEEC assignment form at the time of signing (for written forms) or within 10 business days of signing (for electronic forms).

Dispose of waste and debris from the activity

Any waste or debris generated from the ceiling insulation activity, including any pre-existing insulation product(s) that were removed, must be removed from the consumer’s premises and disposed of in accordance with all applicable waste management requirements under the Environment Protection Act 2017 and its regulations.

Create VEECs in the VEU Registry

Before creating VEECs for an activity, accredited persons must collect the required documents as specified in Table 4. We may ask for these records as part of our certificate assessment process.

To create VEECs in the VEU Registry, you can upload the activity the activity submission form in the VEU Registry. See appendix D for guidance on completing specific fields in the VEEC creation form for this activity.

After you press the ‘submit’ button, the VEECs associated with your activities are created and assigned a unique identifier.

A certificate creation fee per certificate applies to all VEECs created by an accredited person. We issue invoices on Tuesdays and Thursdays each week for VEECs created by accredited persons. If you identify an issue with activities you have submitted for creation, to avoid being charged a creation fee for VEECs you have created, you will need to withdraw the VEECs before 6am on Tuesday and Thursdays.

VEEC assessment

After you pay your certificate creation fees, we will assess the created VEECs to decide whether they are eligible for registration. This assessment includes checks to verify that VEECs have been created in accordance with the VEET Act and VEET Regulations. As part of this assessment process, we may require you submit to us records as listed in table 4.

Commission registers VEECs (if eligible)

When your VEEC creation claims have been validated, we will register your VEECs and notify you that the VEECs are available to be traded and/or surrendered to us.

Calculating VEECs

The number of Victorian energy efficiency certificates (VEECs) you receive for a given ceiling insulation activity is based on the deemed abatement associated with the activity.

The deemed abatement is calculated using assumptions about an upgrade situation’s key variables, such as area of insulation installed and the deemed lifetime with the method and variables for the activity set out in the VEU Specifications.

The key variables used to calculate the number of VEECs for the ceiling insulation activity are:

GHG savings

Area

Lifetime

Regional factor

The VEEC calculation method is detailed further in part 48 of the VEU Specifications. Appendix B includes examples of VEEC calculations for this activity.

An explanation of some of the key calculation variables is provided below.

Calculation variables

GHG savings

The GHG savings input value represents the tonnes CO2-e/m2/annum per VEU Climate Region.

The input factors are as follows:

For mild climate: 0.00576

For cold climate: 0.00771

For hot climate: 0.00546.

Area

The input factor is based on the area of insulation installed in m2.

Lifetime

The lifetime provided for all scenarios for the ceiling insulation activity is 25 years.

Regional factor

Regional factor is the input value used to account for fluctuations in average energy usage due to distribution losses. The regional factors are as follows:

For upgrades in metropolitan Victoria the regional factor is 0.98

For upgrades in regional Victoria the regional factor is 1.04.

# Appendix A: Guidance for completing the installation notification form

The table below provides accredited persons with guidance on completing specific fields in the installation notification form for ceiling insulation (activity 48).

Table 5: Ceiling insulation (activity 48) installation notification form guidance

| Field(s) in notification form | Guidance for completing fields | Field able to be amended as part of a notification update |
| --- | --- | --- |
| Installation details |  |  |
| Installation start date and time | Enter the expected upgrade commencement date and time Date must not be more than 5 days from today's date. Date must at least 24 hours before installation date/time | Yes |
| Installation end date and time | Enter the expected upgrade completion date and time | Yes |
| Installation address | Enter the installation address | No |
| Owner of premises |  |  |
| First name, Last name, Phone number and Email | Enter the details of the owner of the premises | No |
| Entity name (Optional) | If applicable, enter the name of the entity associated with the owner |  |
| Scheme participant details |  |  |
| Scheme participant (lead installer) | Select from list of scheme participants you have registered for ceiling insulation activity. Only scheme participants whose relevant training and licence requirements have been verified by the VEU can be selected for the activity. | Yes |
| Phone number | Enter the lead installer contact number | Yes |
| EEC Certification number | Enter the lead installer certification number as it appears on the EEC certificate | Yes |
| Installer company name (Optional) | Enter the lead installer company name | Yes |
| ABN/ACN | Enter the lead installer company ABN/ACN | Yes |
| Additional information |  |  |
| Has the pre-installation electrical safety assessment for the insulation installation been completed? | Select from the following options: - Not completed - Completed: no electrical issues identified - Completed: electrical issues identified and all rectified - Completed: electrical issues identified, rectification not possible, electrician will be required at installation. | No |
| Certificate of Electrical Safety Number | Enter the CoES number where rectification work was required (only required entry where previous answer is 'Completed: electrical issues identified and all rectified’). | No |
| REC Registration Number (Optional unless a Certificate of Electrical Safety Number is provided) | Enter the Registered Electrical Contractor (REC) number of the Responsible Person from the Certificate of Electrical Safety | No |
| Have you received written consent from the owner of the premises to provide information to the ESC to share information with other regulators? | Select: Yes No | No |

# Appendix B: Calculation for ceiling insulation activities and worked examples

VEECs for these activities are calculated using the following equation (VEECs equivalent to tonnes of CO2 equivalent emissions abated):

GHG Eq. Reduction=GHG Savings × Area × Lifetime × Regional Factor

GHG Eq.: greenhouse gas equivalent, in tonnes of CO2 equivalents

GHG Savings: (tonnes CO2-e/m2/annum) per VEU Climate Region

Area: The area of insulation installed in m2 (as per VEU Specifications)

Lifetime: Lifetime factor (as per VEU Specifications)

Regional factor: climatic region applicable to the site (as per VEU Specifications).

## Worked examples for creating VEECs

### Activity 48A – Upgrade in Regional Victoria

GHG Savings is 0.00546 for an upgrade in a hot climate region

Area of insulation installed in m2 is 150

Lifetime is 25

Regional factor is 1.04 for upgrades in regional Victoria.

Table 9: Worked example for activity 48A: Installing bulk insulation in the form of a batt or blanket

| Activity | Upgrade example scenario | Greenhouse gas equivalent reduction equation | VEECs generated |
| --- | --- | --- | --- |
| 48A | Installing insulation in a hot climate region in regional Victoria | 0.00546 x 150 x 25 x 1.04 | 21 |

### Activity 48B – Upgrade in Metropolitan Victoria

GHG Savings is 0.00576 for an upgrade in a mild climate region

Area of insulation installed in m2 is 200

Lifetime is 25

Regional factor is 0.98 for upgrades in metropolitan Victoria.

Table 10: Worked example for activity 48B: Installing rigid cellular foam insulation product

| Activity | Upgrade example scenario | Greenhouse gas equivalent reduction equation | VEECs generated |
| --- | --- | --- | --- |
| 48A | Installing insulation in a mild climate region in Metropolitan Victoria | 0.00576x 200 x 25 x 0.98 | 28 |

# Appendix C: Guidance for completing the ceiling insulation (activity 48) VEEC creation form

The table below provides accredited persons with guidance on completing specific fields in the VEEC creation form for ceiling insulation (activity 48).

Table 11: Ceiling insulation (activity 48) VEEC creation form guidance

| Field(s) in VEEC creation form | Guidance for completing fields |
| --- | --- |
| Activity date | Enter the date the installation was completed |
| Sector | Select Residential |
| Activity type | Select 48 - Ceiling insulation |
| Activity address | Enter the installation address |
| Consumer details | Enter the property owner’s name, phone number and email address |
| Scheme participant details |  |
| Scheme Participant | Select the installer from scheme participants drop-down list of approved scheme participants |
| Activity details |  |
| Premises details |  |
| Premises class type | Select the relevant class type from the drop-down menu Class 1 (house) Class 2 (apartment) |
| Premises type | Select the relevant premises type from the drop-down menu Public housing Community housing Private rental Owner-occupier |
| Installation notification ID | Enter the installation notification identification number provided after submitting the installation notification form. You can search for an installation notification ID by starting to type the installation notification ID OR address. Matching results will appear to select. Where an installation notification address does not match the activity address, you must explain why. |
| Pre-installation installer safety assessment form acknowledgement | Check the box if a pre-installation installer safety assessment form has been completed. |
| Certificate of Electrical Safety | Enter the Certificate of Electrical Safety number – only if rectification work was completed. |
| Were any downlights replaced prior to the installation? | Select ‘Yes’ if any downlights were replaced prior to the installation Select ‘No’ if no downlights were replaced prior to the installation |
| Price of Upgrade inc. GST ($) | Enter the total price of the upgrade (including labour/installation costs) before VEEC incentives are applied. |
| Consumer Payment for Upgrade inc. GST ($) | Enter the amount paid by the consumer for the upgrade (including labour/installation costs) after VEEC incentives are applied. |
| Was ceiling insulation present prior to the installation? | Select ‘Yes’ if any ceiling insulation was present. If ‘Yes’ is selected, indicate whether the existing ceiling insulation was removed (Yes/No). Select ‘No’ if there was no existing ceiling insulation present |
| Pre-installation electrical safety assessment |  |
| Licensed electrician’s details | Enter the name and the licence number of the electrician who completed the pre-installation electrical safety assessment |
| Installation details |  |
| Upgrade area | Select an area from the drop-down menu (e.g. Area 1). You can enter up to three different upgrade areas to record different products and/or activity scenarios. |
| Was this area uninsulated or under insulated? | Selected from the drop-down menu whether the area was uninsulated or under insulated |
| Activity scenario | Select the relevant activity scenario from the drop-down menu: 48A(i) - Uninsulated residential ceiling space with bulk insulation batt or blanket product installed 48A(ii) - Under insulated residential ceiling space with bulk insulation batt or blanket product installed 48B(i) - Uninsulated residential ceiling space with rigid cellular foam insulation product installed 48B(ii) - Under insulated residential ceiling space with rigid cellular foam insulation product installed |
| Product Brand and Product Model | Select the brand and model of installed product(s). Start typing to filter available options. |
| Area (m2) | Enter the area (m2) of products installed for each upgrade area. Note: The system will calculate the total area insulated (m2) based on the total square meters entered for all induvial upgrade areas |

# Glossary

Table 12: Glossary of terms

| Term | Definition |
| --- | --- |
| applicable electrician | a licensed electrician who is engaged by a registered electrical contractor (REC) |
| basic protection | has the same meaning as per section 1.5.4 of AS/NZS 3000 – Electrical installations (known as the Australian/New Zealand Wiring Rules) as published from time to time |
| ceiling space | space above a ceiling, above which there is either a roof cavity or an exposed roof, and not another building storey |
| cellulous fibre insulation | cellulous fibre insulation has the same meaning as AS/NZS 4859.1 |
| CodeMark Certificate of Conformity | a certificate that has been issued by CodeMark Certification Scheme administered by the Australian Building Codes Board (ABCB) demonstrating compliance with the National Construction Code (NCC); |
| community housing | housing that is owned, controlled or managed by a participating registered agency within the meaning of the Housing Act 1983, other than housing under the Victorian Affordable Housing Programs within the meaning of that Act |
| energy consumer | under the VEET Act, an energy consumer can be either the owner or occupier of the premises. Given rental laws, the energy consumer contracting with the accredited person for this activity will usually be the owner of the premises. |
| IC luminaire | luminaire classified and marked as an IC luminaire in accordance with AS/NZS 60598.2.2. This rating means that the luminaire has been classified and marked as being safe to be covered and abutted by insulation. |
| IC-4 luminaire | luminaire classified and marked as an IC-4 luminaire in accordance with AS/NZS 60598.2.2. This rating means that the luminaire has been classified and marked as being safe to be completely covered and abutted by insulation |
| loose fill product | has the same meaning as per AS/NZS 4859.1 |
| NCC 2022 Volume One | NCC 2022 Volume One means the National Construction Code 2022 Volume One – Building Code of Australia Class 2 to 9 buildings; as amended from time to time; |
| owner | the owner of the residential premises in which the prescribed activity is undertaken |
| pre-installation electrical safety assessment | an assessment form that is listed in the Secretary’s specifications in accordance with regulation 35(1)(b) and is completed for the purposes of regulation 38A(2) of the VEET Regulations |
| pre-installation installer safety assessment | an assessment form that is listed in the Secretary’s specifications in accordance with regulation 35(1)(b) and is completed for the purposes of regulation 38A(2) of the VEET Regulations |
| public housing | has the same meaning as the Housing Act 1983 |
| registered electrical contractor (REC) | a person who holds a current registration issued by Energy Safe Victoria under section 31 of the Electrical Safety Act 1998 |
| regulators | Energy Safe Victoria and the Victorian WorkCover Authority. |
| rigid cellular foam insulation | insulation that complies with the requirements of section 8 of AS/NZS 4859.1 |
| uninsulated | a ceiling space that has no insulation or only has reflective foil insulation sheets |
| under insulated | a ceiling space that contains existing uncompressed insulation with an average R-value of less than R2.0. |

## Document version history

CM Reference: C/26/5347

| Version | Amendments | Effective date |
| --- | --- | --- |
| 1.0 | First release | 14 April 2026 |
| 1.1 | Revision to: Update installation notification process Include information on general accreditation conditions Clarify and update record-keeping requirements Add new VEEC creation form field requirements | 30 July 2026 |
| 1.2 | Revision to reflect stage 2 requirements, including updates to product requirements, scheme participant requirements and record-keeping requirements that apply from 1 October 2026. | 1 October 2026 |

In industry terms, a product that is not a foil product.

Means insulation that complies with the requirements of section 8 of AS/NZS 4859.1.

Defined in the VEET Regulations as a licensed electrician who is engaged by a Registered Electrical Contractor

A single consent form may be used by a landlord to give consent to share information for multiple properties/all properties in their portfolio.

The label should identify the pre-installation upgrade area and applicable activity scenario (e.g. under-insulated upgrade area 1).

Existing uncompressed insulation must have an average R-value of less than R2.0. As a guide, R2.0 ceiling insulation is typically less than 90 mm in uncompressed thickness, which is lower than the standard ceiling-joist height.

The label should identify the post-installation upgrade area and applicable activity scenario (e.g. under-insulated upgrade area 1).

The installed product(s) must provide a total thermal resistance (R-value) of at least R5.0, as determined in accordance with AS/NZS 4859.1. R 5.0 ceiling batts typically have a nominal thickness of 210-230mm, depending on the brand.

We note that this step could occur prior to sending of notification to the commission, although we understand this assessment is often likely to occur on the day of installation (i.e. prior to undertaking the installation on the day).

See VEU program fees page to find out certificate creation fee amount.